NEGROS PRAWN PRODUCERS COOPERATIVE (NPPC)

ANALYTICAL AND DIAGNOSTIC LABORATORY

Blk 2 Lot 29 San Vicente, Sta. Clara Subd.,  Circumferential Road, Brgy. Banago, Bacolod City

Tel. No. 034-4352613 email address nppclab@gmail.com

PHYSICO-CHEMICAL ANALYSIS REPORT

Customer: 	                                                                                   Date/Time of Collection:

Address: 		 Date/Time Submitted:

Reference No: 	                        Date/Time Analyzed:

Control No: 	                        Date Reported:

Sample Code:

| Tests Performed | Method | Results | Acceptable Values | Remarks |
| --- | --- | --- | --- | --- |
| Color (Apparent Color) | Colorimetric Method (2120 B) |  | 10 color units |  |
| Total Dissolved Solids (mg/L) | TDS Meter |  | 600 for product that has not undergone reverse osmosis / distillation process <10 for product that undergone reverse osmosis/distillation process |  |
| Electrical Conductivity (µS/cm) | EC Meter (2510 B) |  |  |  |
| Turbidity | In-House Laboratory Method (Turbidimetry) |  | 5 NTU |  |
| pH | Electrometric Method 4500-H+ B |  | 6.5-8.5 5-7 for product water that undergone reverse osmosis/distillation process |  |
| Chloride (mg/L) | Argentometric Method 4500-Cl- B |  | 250 mg/L |  |
| Residual Chlorine | DPD Colorimetric Method |  | <10 mg/L for RO water 0.3 – 1.5 mg/L for chlorinated drinking water Not applicable to Raw Water |  |
| Total Hardness (mg/L) | Titrimetric Method (2340 C) |  | 300 mg/L as CaCO3 |  |
| Calcium Hardness (mg/L) |  |  |  |  |
| Magnesium Hardness(mg/L) |  |  |  |  |
| Iron (mg/L) | Phenanthroline Method 3500 – Fe B |  | 1.0 mg/L |  |
| Nitrate (mg/L) | Spectrophotometric Method |  | 50 mg/L |  |
| Nitrite (mg/L) | Diazotization Method |  | 3 mg/L |  |
| Sulfate (mg/L) | Turbidimetric Method 4500 – SO4-2 E |  | 250 mg/L |  |
| Odor | Threshold Odor Test (Sensory Evaluation Technique, 2150 B) |  | No objectionable odor |  |

Laboratory Test Conditions during the conduct of the test:   Temp: 		Humidity:

References: Standard Methods for the Examination of Water and Wastewater 24th Edition 2023

Philippine National Standards for Drinking Water 2017 (AO 2017-0010)

NOTE:	1. This report shall not be reproduced, except in full, without the written

approval of the Laboratory Head.				4. Statements of conformity (e.g. Pass/Fail) to specifications are made in this

2. The results contained in this report relate only to the items received,	    report without taking measurement uncertainty into account except when

coded and tested by the laboratory.				    requested by the customer. Where statements of uncertainty are made in this

3. Measurement uncertainty is available upon request.                                         report, the following rules are applied: PASS- results within limit

FAIL- results exceed limit

Analyzed by:								 Certified Correct:

MA. ANTONIELA C. LANACA						JAYRAYNE ERIC G. BARNUEVO, RCh

Laboratory Analyst								Laboratory Analyst

Registered Chemical Technician, License #00761					Registered Chemist	, License #16126

Noted by:

WENDY A. TAYSON, RCh, MEnE

Laboratory Head

Registered Chemist	, License #15131

Test Report #: CHE DW –

Laboratory DOH Accreditation # # DOH052581

NPPC-ADL

LSP 7.8 FO3

Rev. 10 / Issue 11 Effectivity Date:  09/01/2026	Page 1-1